X-ray Structure Determination of Compound 997

Compound 997, C32H8N4F28ClMn, crystallizes in the orthorhombic space group P21212 (systematic absences h00: h=odd and 0k0: k=odd) with a=13.288(2)Å, b=26.546(4)Å, c=5.0905(8)Å, V=1795.6(5)Å3, Z=2 and dcalc=1.981 g/cm3.  X-ray intensity data were collected on a Rigaku Mercury CCD area detector employing graphite-monochromated Mo-K radiation (=0.71069 Å) at a temperature of 143K. Preliminary indexing was performed from a series of twelve 0.5° rotation images with exposures of 30 seconds. A total of 350 rotation images were collected with a crystal to detector distance of 35 mm, a 2swing angle of -12°, rotation widths of 0.5° and exposures of 90 seconds: scan no. 1 was a -scan from 225° to 375° at  = 10° and  = 20°; scan no. 2 was an -scan from -20° to 5° at  = -90° and   = 45°.  Rotation images were processed using CrystalClear, producing a listing of unaveraged F2 and (F2) values which were then passed to the CrystalStructure program package for further processing and structure solution on a Dell Pentium III computer. A total of 8167 reflections were measured over the ranges 5.54 250.06 °,  -13 h 15,  -31 k 30,  -5 l 6 yielding 3122 unique reflections (Rint = 0.0403). The intensity data were corrected for Lorentz and polarization effects and for absorption using REQAB (minimum and maximum transmission 0.589, 1.000).

The structure was solved by direct methods (SIR97). Refinement was by full-matrix least squares based on F2 using SHELXL-97. All reflections were used during refinement (F2’s that were experimentally negative were replaced by F2 = 0). The weighting scheme used was w=1/[2(Fo)+ 0.0559P2 + 1.9074P] where P = (Fo+ 2Fc)/3 . Non-hydrogen atoms were refined anisotropically and hydrogen atoms were refined using a "riding" model.  Refinement converged to R1=0.0487 and wR2=0.1148 for 2874 reflections for which F > 4(F) and R1=0.0541, wR2=0.1184 and GOF = 1.075 for all 3122 unique, non-zero reflections and 301 variables. The maximum / in the final cycle of least squares was 0.000 and the two most prominent peaks in the final difference Fourier were +0.458 and -0.351 e/Å3.

Table 1. lists cell information, data collection parameters, and refinement data.  Final positional and equivalent isotropic thermal parameters are given in Table 2.  Anisotropic thermal parameters are in Table 3.  Tables 4. and 5. list bond distances and bond angles.  Figure 1. is an ORTEP representation of the molecule with 30% probability thermal ellipsoids displayed.

Figure 1. ORTEP drawing of the title compound with 30% probability thermal ellipsoids.

Table 1.  Summary of Structure Determination of Compound 997

Formula:	C32H8N4F28ClMn

Formula weight:	1070.81

Crystal class:	orthorhombic

Space group:	P21212  (#18)

Z	2

Cell constants:

a	13.288(2)Å

b 	26.546(4)Å

c	5.0905(8)Å

V 	1795.6(5)Å3

	6.23 cm-1

crystal size, mm	0.46 x 0.04 x 0.02

Dcalc	1.981 g/cm3

F(000)	1044

Radiation:	Mo-K(=0.71069Å)

2 range	5.54 – 50.06 °

hkl collected:	-13h 15;  -31k 30;  -5l 6

No. reflections measured:	8167

No. unique reflections:	3122 (Rint=0.0403)

No. observed reflections	2874 (F>4)

No. reflections used in refinement	3122

No. parameters	301

R indices (F>4	R1=0.0487

wR2=0.1148

R indices (all data	R1=0.0541

wR2=0.1184

GOF:	1.075

Final Difference Peaks, e/Å3	+0.458, -0.351

Table 2.  Refined Positional Parameters for Compound 997

| Atom x y z Ueq, Å2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Mn1 | 0.5000 | 0.5000 | 0.1987(2) | 0.0229(2) |
| Cl1 | 0.5000 | 0.5000 | 0.6988(3) | 0.0312(3) |
| N1 | 0.3592(2) | 0.47788(12) | 0.2000(8) | 0.0268(7) |
| N2 | 0.5441(2) | 0.42933(11) | 0.1998(8) | 0.0248(7) |
| C1 | 0.2785(3) | 0.5054(2) | 0.1107(8) | 0.0293(9) |
| C2 | 0.1888(3) | 0.4753(2) | 0.1404(11) | 0.0375(12) |
| H2 | 0.1244 | 0.4838 | 0.0843 | 0.050 |
| C3 | 0.2156(3) | 0.4322(2) | 0.2651(11) | 0.0350(11) |
| H3 | 0.1724 | 0.4070 | 0.3240 | 0.047 |
| C4 | 0.3245(3) | 0.4326(2) | 0.2895(10) | 0.0285(9) |
| C5 | 0.3865(3) | 0.3921(2) | 0.3549(9) | 0.0299(10) |
| C6 | 0.4890(3) | 0.38899(13) | 0.2865(8) | 0.0246(8) |
| C7 | 0.5497(3) | 0.3440(2) | 0.2544(11) | 0.0359(11) |
| H7 | 0.5325 | 0.3117 | 0.3087 | 0.048 |
| C8 | 0.6353(4) | 0.3574(2) | 0.1323(10) | 0.0377(12) |
| H8 | 0.6858 | 0.3357 | 0.0754 | 0.050 |
| C9 | 0.6346(3) | 0.4118(2) | 0.1053(9) | 0.0287(10) |
| C10 | 0.7153(3) | 0.4435(2) | 0.0390(9) | 0.0295(9) |
| C11 | 0.3411(3) | 0.3477(2) | 0.5040(9) | 0.0324(10) |
| C12 | 0.2949(3) | 0.3041(2) | 0.3389(10) | 0.0333(10) |
| C13 | 0.2355(5) | 0.2641(2) | 0.4911(11) | 0.0483(14) |
| C14 | 0.8020(4) | 0.4205(2) | -0.1131(10) | 0.0351(11) |
| C15 | 0.8898(4) | 0.3961(2) | 0.0405(10) | 0.0375(11) |
| C16 | 0.9693(4) | 0.3674(2) | -0.1186(12) | 0.0480(14) |
| F1 | 0.2660(2) | 0.36483(9) | 0.6631(5) | 0.0413(7) |
| F2 | 0.4108(2) | 0.32655(9) | 0.6629(6) | 0.0420(7) |
| F3 | 0.2319(2) | 0.32339(9) | 0.1607(6) | 0.0473(7) |
| F4 | 0.3681(2) | 0.28003(9) | 0.2099(6) | 0.0465(7) |
| F5 | 0.1522(3) | 0.28359(13) | 0.5938(10) | 0.092(2) |
| F6 | 0.2073(2) | 0.22774(10) | 0.3289(7) | 0.0571(9) |
| F7 | 0.2889(4) | 0.24432(13) | 0.6788(8) | 0.0878(14) |
| F8 | 0.7662(2) | 0.38406(10) | -0.2769(5) | 0.0405(6) |
| F9 | 0.8452(2) | 0.45564(9) | -0.2711(6) | 0.0434(7) |
| F10 | 0.8516(2) | 0.36315(11) | 0.2151(7) | 0.0513(8) |
| F11 | 0.9378(2) | 0.43179(10) | 0.1790(7) | 0.0505(8) |
| F12 | 0.9293(3) | 0.32840(14) | -0.2397(10) | 0.087(2) |
| F13 | 1.0390(2) | 0.34994(12) | 0.0444(8) | 0.0578(9) |
| F14 | 1.0134(3) | 0.3971(2) | -0.2876(8) | 0.0861(13) |
| Ueq=1/3[U11(aa*)2+U22(bb*)2+U33(cc*)2+2U12aa*bb*cos+2U13aa*cc*cos+2U23bb*cc*cos] |  |  |  |  |

Table 3.   Refined Thermal Parameters (U's) for Compound 997

| Atom U11 U22 U33 U23 U13 U12 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Mn1 | 0.0248(4) | 0.0222(4) | 0.0218(4) | 0.000 | 0.000 | 0.0002(3) |
| Cl1 | 0.0407(8) | 0.0363(7) | 0.0167(6) | 0.000 | 0.000 | 0.0012(6) |
| N1 | 0.027(2) | 0.028(2) | 0.025(2) | -0.001(2) | -0.002(2) | 0.0002(14) |
| N2 | 0.029(2) | 0.022(2) | 0.024(2) | -0.001(2) | 0.000(2) | -0.0005(13) |
| C1 | 0.027(2) | 0.031(2) | 0.031(2) | -0.003(2) | -0.002(2) | 0.002(2) |
| C2 | 0.027(2) | 0.029(2) | 0.056(3) | -0.005(2) | -0.009(2) | 0.000(2) |
| C3 | 0.026(2) | 0.031(2) | 0.048(3) | -0.005(2) | 0.000(2) | -0.005(2) |
| C4 | 0.026(2) | 0.029(2) | 0.031(2) | -0.004(2) | 0.004(2) | -0.002(2) |
| C5 | 0.034(2) | 0.024(2) | 0.032(3) | 0.001(2) | -0.003(2) | -0.006(2) |
| C6 | 0.029(2) | 0.019(2) | 0.025(2) | 0.002(2) | -0.003(2) | 0.000(2) |
| C7 | 0.032(2) | 0.022(2) | 0.054(3) | 0.004(2) | -0.006(2) | -0.003(2) |
| C8 | 0.035(2) | 0.027(2) | 0.050(3) | -0.003(2) | -0.006(2) | 0.005(2) |
| C9 | 0.027(2) | 0.027(2) | 0.032(3) | -0.002(2) | -0.002(2) | 0.006(2) |
| C10 | 0.028(2) | 0.033(2) | 0.027(2) | -0.004(2) | -0.003(2) | 0.003(2) |
| C11 | 0.035(2) | 0.036(2) | 0.025(2) | 0.003(2) | -0.001(2) | 0.000(2) |
| C12 | 0.041(2) | 0.028(2) | 0.030(2) | 0.002(2) | 0.005(2) | -0.001(2) |
| C13 | 0.065(4) | 0.039(3) | 0.041(3) | 0.001(2) | 0.001(3) | -0.016(3) |
| C14 | 0.035(2) | 0.035(2) | 0.035(3) | -0.004(2) | 0.001(2) | 0.005(2) |
| C15 | 0.038(3) | 0.044(3) | 0.031(3) | -0.003(2) | 0.001(2) | -0.002(2) |
| C16 | 0.040(3) | 0.052(3) | 0.052(3) | -0.007(3) | -0.002(3) | 0.017(2) |
| F1 | 0.053(2) | 0.0367(13) | 0.0338(14) | -0.0011(11) | 0.0137(14) | -0.0099(12) |
| F2 | 0.054(2) | 0.0397(14) | 0.033(2) | 0.0122(12) | -0.0115(14) | -0.0091(12) |
| F3 | 0.057(2) | 0.0385(14) | 0.047(2) | 0.0018(13) | -0.018(2) | -0.0024(12) |
| F4 | 0.044(2) | 0.046(2) | 0.049(2) | -0.0135(14) | 0.008(2) | -0.0048(12) |
| F5 | 0.085(3) | 0.074(2) | 0.115(4) | -0.034(2) | 0.064(3) | -0.041(2) |
| F6 | 0.076(2) | 0.041(2) | 0.054(2) | -0.008(2) | 0.007(2) | -0.023(2) |
| F7 | 0.142(4) | 0.059(2) | 0.063(2) | 0.032(2) | -0.029(3) | -0.044(2) |
| F8 | 0.0393(14) | 0.0490(14) | 0.033(2) | -0.0117(13) | -0.0020(13) | 0.0106(12) |
| F9 | 0.043(2) | 0.046(2) | 0.041(2) | 0.0112(13) | 0.0116(14) | 0.0062(12) |
| F10 | 0.037(2) | 0.064(2) | 0.053(2) | 0.023(2) | -0.003(2) | 0.0052(13) |
| F11 | 0.051(2) | 0.047(2) | 0.053(2) | -0.013(2) | -0.018(2) | 0.0071(13) |
| F12 | 0.062(2) | 0.077(2) | 0.122(4) | -0.063(3) | -0.029(2) | 0.032(2) |
| F13 | 0.040(2) | 0.067(2) | 0.067(2) | -0.011(2) | -0.009(2) | 0.0190(14) |
| F14 | 0.057(2) | 0.125(3) | 0.076(3) | 0.028(3) | 0.037(2) | 0.036(2) |
| The form of the anisotropic displacement parameter is: exp[-22(a*2U11h2+b*2U22k2+c*2U33l2+ 2b*c*U23kl+2a*c*U13hl+2a*b*U12hk)]. |  |  |  |  |  |  |

Table 4.   Bond Distances in Compound 997, Å

| Mn1-N1#1 | 1.961(3) | Mn1-N1 | 1.961(3) | Mn1-N2#1 | 1.965(3) |
| --- | --- | --- | --- | --- | --- |
| Mn1-N2 | 1.965(3) | Mn1-Cl1#2 | 2.545(2) | Mn1-Cl1 | 2.546(2) |
| Cl1-Mn1#3 | 2.545(2) | N1-C4 | 1.365(5) | N1-C1 | 1.375(5) |
| N2-C6 | 1.370(5) | N2-C9 | 1.376(5) | C1-C10#1 | 1.406(6) |
| C1-C2 | 1.444(6) | C2-C3 | 1.355(7) | C3-C4 | 1.452(6) |
| C4-C5 | 1.395(6) | C5-C6 | 1.408(6) | C5-C11 | 1.526(6) |
| C6-C7 | 1.450(6) | C7-C8 | 1.343(7) | C8-C9 | 1.453(6) |
| C9-C10 | 1.403(6) | C10-C1#1 | 1.406(6) | C10-C14 | 1.516(6) |
| C11-F2 | 1.351(5) | C11-F1 | 1.364(5) | C11-C12 | 1.557(6) |
| C12-F4 | 1.336(5) | C12-F3 | 1.337(5) | C12-C13 | 1.533(7) |
| C13-F7 | 1.301(7) | C13-F6 | 1.324(6) | C13-F5 | 1.329(7) |
| C14-F9 | 1.358(5) | C14-F8 | 1.364(5) | C14-C15 | 1.547(7) |
| C15-F11 | 1.342(6) | C15-F10 | 1.346(6) | C15-C16 | 1.534(7) |
| C16-F14 | 1.305(7) | C16-F12 | 1.318(6) | C16-F13 | 1.327(6) |

Table 5.   Bond Angles in Compound 997, °

| N1#1-Mn1-N1 | 179.6(2) | N1#1-Mn1-N2#1 | 89.91(13) | N1-Mn1-N2#1 | 90.09(13) |
| --- | --- | --- | --- | --- | --- |
| N1#1-Mn1-N2 | 90.09(13) | N1-Mn1-N2 | 89.91(13) | N2#1-Mn1-N2 | 179.7(2) |
| N1#1-Mn1-Cl1#2 | 90.20(11) | N1-Mn1-Cl1#2 | 90.20(11) | N2#1-Mn1-Cl1#2 | 90.16(12) |
| N2-Mn1-Cl1#2 | 90.16(12) | N1#1-Mn1-Cl1 | 89.80(11) | N1-Mn1-Cl1 | 89.80(11) |
| N2#1-Mn1-Cl1 | 89.84(12) | N2-Mn1-Cl1 | 89.84(12) | Cl1#2-Mn1-Cl1 | 180.000(1) |
| Mn1#3-Cl1-Mn1 | 180.000(1) | C4-N1-C1 | 108.4(3) | C4-N1-Mn1 | 126.0(3) |
| C1-N1-Mn1 | 125.7(3) | C6-N2-C9 | 108.4(3) | C6-N2-Mn1 | 126.0(3) |
| C9-N2-Mn1 | 125.5(3) | N1-C1-C10#1 | 123.6(4) | N1-C1-C2 | 108.3(4) |
| C10#1-C1-C2 | 127.6(4) | C3-C2-C1 | 107.5(4) | C2-C3-C4 | 107.2(4) |
| N1-C4-C5 | 123.9(4) | N1-C4-C3 | 108.4(4) | C5-C4-C3 | 127.1(4) |
| C4-C5-C6 | 123.9(4) | C4-C5-C11 | 118.7(4) | C6-C5-C11 | 117.3(4) |
| N2-C6-C5 | 123.4(3) | N2-C6-C7 | 108.0(3) | C5-C6-C7 | 128.0(4) |
| C8-C7-C6 | 107.9(4) | C7-C8-C9 | 107.5(4) | N2-C9-C10 | 123.3(4) |
| N2-C9-C8 | 108.0(4) | C10-C9-C8 | 127.9(4) | C9-C10-C1#1 | 124.1(4) |
| C9-C10-C14 | 117.5(4) | C1#1-C10-C14 | 118.4(4) | F2-C11-F1 | 106.5(4) |
| F2-C11-C5 | 110.4(4) | F1-C11-C5 | 109.1(3) | F2-C11-C12 | 106.5(3) |
| F1-C11-C12 | 106.2(4) | C5-C11-C12 | 117.5(4) | F4-C12-F3 | 107.8(4) |
| F4-C12-C13 | 107.0(4) | F3-C12-C13 | 106.6(4) | F4-C12-C11 | 109.5(4) |
| F3-C12-C11 | 109.2(3) | C13-C12-C11 | 116.4(4) | F7-C13-F6 | 108.5(4) |
| F7-C13-F5 | 108.8(5) | F6-C13-F5 | 107.1(5) | F7-C13-C12 | 111.7(5) |
| F6-C13-C12 | 109.6(4) | F5-C13-C12 | 111.0(4) | F9-C14-F8 | 105.8(4) |
| F9-C14-C10 | 110.4(3) | F8-C14-C10 | 109.4(4) | F9-C14-C15 | 105.5(4) |
| F8-C14-C15 | 105.9(3) | C10-C14-C15 | 118.9(4) | F11-C15-F10 | 106.9(4) |
| F11-C15-C16 | 107.5(4) | F10-C15-C16 | 106.6(4) | F11-C15-C14 | 109.1(4) |
| F10-C15-C14 | 108.8(4) | C16-C15-C14 | 117.5(4) | F14-C16-F12 | 110.3(5) |
| F14-C16-F13 | 108.0(5) | F12-C16-F13 | 107.4(4) | F14-C16-C15 | 111.0(4) |
| F12-C16-C15 | 111.0(4) | F13-C16-C15 | 108.9(4) |  |  |

References

. CrystalClear: Rigaku Corporation, 1999.

. CrystalStructure:  Crystal Structure Analysis Package, Rigaku Corp. Rigaku/MSC (2002).

.  REQAB4: R.A. Jacobsen, (1994). Private Communication.

. SIR97:  Altomare, A., M. Burla, M. Camalli, G. Cascarano, C. Giacovazzo, A. Guagliardi, A. Moliterni, G. Polidori & R. Spagna (1999).  J. Appl. Cryst., 32, 115-119.

. SHELXL-97: Program for the Refinement of Crystal Structures, Sheldrick, G.M. (1997), University of Göttingen, Germany.

. 	R1 = ∑ ||Fo| - |Fc|| / ∑ |Fo|

wR2 = { ∑ w (F o- F c)2 / ∑ w(F o)2}1/2

GOF = { ∑ w (F o- F c)2 / (n - p)}1/2
where n = the number of reflections and p = the number of parameters refined.

. “ORTEP-II:  A Fortran Thermal Ellipsoid Plot Program for Crystal Structure Illustrations”.  C.K. Johnson (1976) ORNL-5138.